## Slide 1: PULMONARY ARTERY CATHETERS Leonie Stojmenov A/CN ICU

## Slide 2: OBJECTIVES
Overview
Indications and Contraindications
Complications
Types
Insertion
Pressure Waveforms
Cardiac Output
Continuous Cardiac Output Monitoring
Sv02

## Slide 3: OVERVIEW
Right ventricular function
Pulmonary Vascular status
Systemic Vascular status
Indirect Left Ventricular function
Cardiac Output
Aka Swan-Ganz Catheters

## Slide 4: INDICATIONS
Cardiac Output measurement
Right and Left heart failure
ARDS
Guide therapies
  Vasopressors, inotropes, fluids and diuretics
Complex haemodynamic instability
  Obstructive, Distributive, Cardiogenic or Hypovolemic shock

## Slide 5: CONTRAINDICATIONS
Tricuspid or pulmonary valve prosthesis
Tricuspid or pulmonary valve vegetations
Endocarditis
Relative contraindication - LBBB

## Slide 6: COMPLICATIONS
Complications of CVC insertion
  Pneumothorax
  Infection
  Bleeding
  Thrombus
  Air emboli
Ventricular Dysrhythmias
Pulmonary Artery Rupture
Balloon Rupture
Catheter knotting

## Slide 7: TYPES
Swan Ganz
Swan Ganz CCO
Swan Ganz CCO Sv02

## Slide 8: LUMENS
Proximal Injectate Port = Blue
  CVP monitoring
Proximal Infusion Port = White
  Drugs/Infusions
PA Distal Port = Yellow
  PA pressure monitoring
Balloon Lumen = Red
Thermistor connector = White/Red Cap
Electrical Element supply = White/Red Cap
Sv02 = White/Dark Blue connection

## Slide 10: INSERTION
Venous sheath insertion
Prime PA intraflow
Waveform monitoring
Attaining Pulmonary Artery Wedge Pressure (PAWP)
Alarm Limits
Securing
CXR

## Slide 12: NORMAL VALUES
CVP = 2-8mmHg
RV Pressure
  Systolic 20-30mmHg
  Diastolic 0-8mmHg
PASP = 20-30mmHg
PADP = 8-12mmHg
PAWP = 8=12mmHg

## Slide 13: PERFORMING A WEDGE
Is it safe/necessary?
How often?
Main Setup -> Wedge
  Ready for Balloon Inflation
  Wedging
  Ready for Balloon Deflation
  Edit Wedge
  Adjust Cursor – ventilated or spontaneous breathing?
  Store Wedge

## Slide 14: VENTILATED OR SPONTANEOUS?

## Slide 15: CARDIAC OUTPUT or CARDIAC INDEX?
CO = HR x SV
  4 - 8 L/min
CI = CO ÷ BSA
  2.5 – 4 L/min/m2
  CARDIAC INDEX WILL GUIDE TREATMENT

## Slide 16: FACTORS AFFECTING CO
Break down the equation CO = HR x SV
HEART RATE
STROKE VOLUME
  PRELOAD
  AFTERLOAD
  CONTRACTILITY

## Slide 17: HEART RATE
Autonomic – Parasympathetic vs. Sympathetic stimulation
Catecholamine's
Reflexes
How do we influence?
  Drugs – Adrenaline, Dobutamine, Isoprenaline, Beta Blockers, Amiodarone
  Pacing
  Pain and anxiety

## Slide 18: PRELOAD
Left Ventricular End Diastolic Pressure (LVEDP)/PCWP
  Left heart preload
CVP
  Right heart preload
How do we influence?
  Filling
  Diuresis
  Venous Return
    Positioning
    Drugs – GTN, Noradrenaline
    PEEP

## Slide 19: AFTERLOAD
Systemic Vascular Resistance Index (SVRI)
  Left heart afterload
Pulmonary Vascular Resistance Index (PVRI)
  Right heart afterload
How do we effect?
  Drugs – Vasopressors – Norad, GTN, INO, Epoprostenol, Iloprost, Sildenafil
  Pain/Anxiety
  Sepsis/SIRS
  IABP

## Slide 20: CONTRACTILITY
Frank Starling Law
How do we influence?
  Preload – filling
  Drugs – inotropes – dobutamine, milrinone, levosimendan, adrenaline
  IABP

## Slide 21: CCO MONITORING
Thermodilution
Thermodilution curves
CORRELATE THE CLINICAL FINDINGS!!!
  Peripheral perfusion
  Urine Output
  Lactate

## Slide 22: Sv02 MONITORING
Analyses
  Oxygen supply
  Oxygen utilization
  Oxygen demand
Influenced by
  Arterial saturations (Sa02)
  Haemoglobin
  Cardiac Output
  Oxygen Extraction and consumption
Normal consumption approx 25% = Sv02 60 – 80%

## Slide 23: LOW Sv02
Reduced Sa02
Low Hb
Low CO states
Increased demand without increased supply
  Exercise
  Sepsis

## Slide 24: HIGH Sv02
02 delivery > 02 demand
Pathologic states
  Tissues unable to extract
  Tissue beds under perfused
  No extraction despite demand
  Oxyhaemoglobin dissociation curve
Low metabolic rate
  Therapeutic hypothermia
  Sedatives/paralysis

## Slide 25: CALIBRATING Sv02
Once per shift
Select In Vivo Calibration
  Draw sample from PA lumen into ABG syringe
  Enter s02 and HCT value
  Calibrate

## Slide 26: SUMMARY
Useful haemodynamic monitoring tool
Assists to guide treatment
Must correlate clinical findings
Not without risks, is it worth it?