## Slide 1: Basic Care of the Ventilated Patient

## Slide 3: Objectives
By the end of this session, you will be able to verbalise:
Equipment Safety
Patient Safety
Patient Comfort
needs required for the ventilated patient

## Slide 4: EQUIPMENT SAFETY
Emergency safety checks
  Airway drawer
  Alarm limits (monitor & ventilator)
  Ventilator (humidifier setting, water)
All equipment plugged in, charging
Bedspace clear of clutter
  Ensure access to airway, emergency bell

## Slide 6
Start of EVERY shift!

## Slide 7: PATIENT SAFETY
Continuous observation and monitoring with a 1:1ratio
Systematic and comprehensive assessment

## Slide 8: Airway
Airway secure
Size
Length
Position
Cuff pressure
Condition of mouth

## Slide 11
  TUBE
  Incorrect placement puts patients at significant risk
  Auscultation
  EtC02
  Radiological
  Security
CUFF
Too High vs Too Low

## Slide 12: Secretion Clearance Potentially hazardous activity!
Bleeding
Infection
Atelectasis
Hypoxaemia
CVS instability
Raised ICP

## Slide 13: Secretion clearance
Frequency determined by patient need.
Indications for suctioning:
Coughing
Auscultation
Review of secretion production
Spo2, ETCO2
Airway pressures
Tidal Volumes
Prior to suctioning, first assess
Cardiovascular stability
PEEP

## Slide 14: Minimising risk of complications
Pre oxygenation
Catheter not more than double of the diameter of the endotracheal tube
Continuous rather than intermittent suction
No longer than 15 seconds
Prevent repeated trauma to the carina
  Reduce number of passes
Humidification
Avoid saline lavage

## Slide 16: Breathing
Rise and fall
Patient colour
Respiratory Rate
Ventilator settings & observations
Sp02
EtC02

## Slide 19: PATIENT COMFORT
Interventions should have a positive impact & assist in the patient’s progression toward desired outcomes
Patient Positioning
Eye care
Oral Care

## Slide 20: Patient positioning
Position specific to pt goals
Head up 30*
  reduce aspiration / VAP
Improve comfort (alignment)
Consider hemodynamic stability, lung pathology
Improves gas exchange
  V/Q matching
  Decrease WOB
Improves range of motion, muscle strength and function

## Slide 21: Eye care
ICU patients are a high risk group dependent on eye care to maintain eye integrity.
In sedated patients, there’s a loss of basic eye protective measures, resulting in:
Corneal dehydration
Corneal abrasions
Infections
Individual assessment essential to
determine eye care needs.

## Slide 22: Mouth care
Evidence suggests link between colonization of dental plaque with respiratory pathogens & VAP
Two hourly mouth care
  Biotene & swabs
  Suction oropharynx
Eight hourly teeth brushing
  Cuff
  Brush, water lavage via syringe
  Suction

## Slide 23: General points
Sedation and analgesia
Wash, linen change
Peri & IDC care
Pressure areas
  Invasive lines
  Relocating probes
Day-night routine
Communication
  Patient
  Family

## Slide 24: Questions???